## Estimate
NAME OF PROJECT:
Detailed Estimate for "PROPOSED CFC SHED AT GARMURH, MAJULI"
SL. NO. | CPWD SOR NO. | DESCRIPTION OF ITEMS | UNIT | QUANTITY | RATE (in Rs./unit) | Amount (Rs.)
1 |  | EARTHWORK
1.1 | 2.6 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.
| 2.6.1 | (a)All kind of soil | Cum | 42.7771
2 |  | PLAIN CEMENT CONCRETE WORKS
2.01 | 4.1 | Plain cement concrete works with coarse aggregate of sizes 13mm to 32mm in foundation bed for footing steps, walls, brick works etc. as directed and specified including dewatering if necessary, and curing complete (shuttering where necessary shall be measured and paid separately).
| 4.1.5 | (a). In prop. 1:3: 6 (1 cement:3 coarse sand : 6 coarse agg. by volume (using mixture machine) | Cum | 2.0286
3 |  | REINFORCED CEMENT CONCRETE WORKS
| 4.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
3.01 | 4.1.2 | 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | Cum | 18.0337
3.02 | 4.2 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : | Cum | 45.4145
| 4.2.2 | 1:1½:3 (1 cement : 1½ coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size).
4 |  | ANTI-TERMITE TREATMENT
| 26.1.1 | Pre construction anti-termite treatment with aqueous emulsion having concentration 1:19 with chloropirophose solution (tricel or equivalent) and water. This provides emulsion containing 1% chloropirophose solution (by weight)- at the bottom of foundation pits and walls on either side up to a height of 300mm from bottom of the excavation made for column, plinth beam, wall, trenches etc. by applying the emulsion @ 5 liters per square meter of the surface area before starting construction work (supplying of necessary tools and accessories by the contractor) as per the direction of the Department complete.
4.01 |  | b) with aqueous emulision having concentration 1:499 with Premise 350 SC (imidachloprid 30.5% SC) and water i.e.0.07% solution | sqm | 28.224 | 37.88 | 1069.1251
5 |  | SHUTTERING
| 5.9 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :
| 5.9.1 | Foundation, footings, base of columns, pile cap, raft and mass concrete works etc. | sqm | 11.04
| 5.9.5 | Lintels, beams, plinth beams, girders, bressumers and cantilevers. | sqm | 70.564
| 5.9.6 | Columns, pillars, piers, abutments, posts and struts. | sqm | 101.016
| 5.9.5 | 5) Lintels, beams, plinth beams, girders, bressumers and cantilevers. | sqm | 86.0487
| 5.9.3 | 3) Suspended floor, roofs, landing, balconies and access platform | sqm | 160.1145
| 5.9.70 | Stairs, (excluding landings) except spiral-staircases | sqm | 14.6677
6 |  | BRICKWORK
6.01 | 6.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
| 6.1.1 | Cement mortar 1:4 (1cement: 4coarse sand). | CUM | 3.1442
6.02 | 6.13 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
| 6.13.1 | Cement mortar 1:3 (1 cement :3 coarse sand) | Sq.m | 93.9205
7 |  | PLASTERING
7.01 | 13.2 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 13.2.1 1:4 (1 cement: 4 fine sand) | Sq.m | 107.6227
8.02 | 13.1 | 12 mm cement plaster of mix : 13.1.1 1:4 (1 cement: 4 fine sand) | Sq.m | 132.1927
8.03 | 5.22.A | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. 5.22A.6 Thermo-mechanically treated bars. | kg | 9859
9 |  | Floor finish
9.01 | 4.1. | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size). | cum. | 5.1239
9.02 | 13.7 | 12 mm cement plaster finished with a floating coat of neat cement of mix : 13.7.2 1:4 (1 cement: 4 fine sand) | Sq.m. | 7.59
10 |  | PAINTING
10.01 | 13.8 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | Sq.m | 239.8155
10.02 | 13.43 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : 13.43.1 Water thinnable cement primer. | Sq.m | 239.8155
10.03 | 13.6 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :
|  | 13.61.1 Two coates on new work | Sq.m | 239.8155
10.04 | 13.85 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content. 13.85.1 With ready mixed pink or grey primer on wood work (hard and soft | Sq.m | 11.983
10.05 | 13.62 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : 13.62.1 Two or more coats on new work over an under coat of suitable shade | Sq.m | 11.983
11 |  | DOORS/ WINDOWS & FITTING
11.01 | 9.2 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters.
|  | 9.20.1 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | Sq.m | 4.1
11.02 | 9.1 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately). 9.1.2 Sal wood | cum | 0.097
11.03 | 21.3 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
|  | 21.3.2 With float glass panes of 5.50 mm thickness | sq.m. | 40.5202
12 |  | RAILLING & grill
12.01 | 10.25 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
|  | 10.25.2. In gratings, frames, gurd bar. Ladder, ralling, brackets, gates and similar works. | KG | 415.773
13 |  | DOORS/ WINDOWS & FITTING
13.01 | 9 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete :
| 9.74.1 | b) Tower bolts i) 250mm x 10mm | NO | 4
| 9.81 | Providing and fixing bright finished brass handles with screws etc. complete:
| 9.81.1 | 125 mm | NO | 4
14 |  | TRUSS
14.01 | 10.16 | Steel work in built up tubular trusses including cutting hoisting fixing in position and applying a priming coat of approved steel primer , welded and bolted including special shaped washers etc. complete. 10.16.2 Hot finished seamless type tubes | Qtl | 14.74
15 |  | ROOF
15.01 | 12.1 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. 12.1.3 0.63 mm thick with zinc coating not less than 275 gm/ m² | sq.m | 195.25
15.02 | 12.4 | Providing ridges or hips of width 60 cm overall width plain G.S. sheet fixed with polymer coated J or L hooks, bolts and nuts 8 mm dia G.I. limpet and bitumen washers complete. 12.1.3 0.63 mm thick | rm | 36.7425
16 |  | CEILLING
| 12.31 | Providing 10 mm thick plaster of Paris (gypsum anhydrous) ceiling up to a height of 5 m above floor level, over first class kail wood strips 25x6 mm with 10 mm gap in between and reinforced with rabbit wire mesh fixed to wooden frame (frame work to be paid separately): 12.31.1 Flat surfaces | sq.m | 111.39
17 | 21.3 | Partition a) Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc with EPDM rubber/ neoprene gasket etc complete as per the architectural drawings and the directions of engineer-in-chargr. 21.3.3. With float glass panes of 8 mm thickness | sq.m | 8.1
TOTAL

## Sheet1
Sl.No | APWD | Item |  | Unit | No. | L | B | H | Qty | Total Qty
1 |  | Earth Work
1.01 | 1.1 | Excavation | column | Cum | [5 empty] | 37.1975
[5 empty] | 12 | 1.4 | 1.4 | 1.5 | 35.28
|  |  | Tie Beam | Cum | 1 | 76.7 | 0.25 | 0.1 | 1.9175
Earth fill
| 2 |  |  | Cum | 1 | 14.1 | 7.9 | 0 | 0
p.c.c.
|  |  |  | Cum | 12 | 1.4 | 1.4 | 0.075 | 1.764 | 1.764
| 3 | DPC |  | SQM | 1 | 14.1 | 7.9 | 1 | 111.39
| 4 | RCC | SUB | CUM
|  |  |  | FON | 12 | 1.2 | 1.2 | 0.2 | 3.456 | 15.6815
[5 empty] | 12 | 0.8 | 0.8 | 0.35 | 2.688
|  |  |  | COL | 12 | 0.3 | 0.3 | 1.5 | 1.62
|  |  |  | TIE | 1 | 76.7 | 0.25 | 0.4 | 7.67
|  |  | STAIR |  | 1 | 1.65 | 0.25 | 0.6 | 0.2475
STAIR
SUPER
|  |  |  | COL | 12 | 0.3 | 0.3 | 2.4 | 2.592 | 39.4909
|  |  |  | FL. BEAM | 1 | 72.5 | 0.25 | 0.4 | 7.25
|  |  |  | SLAB | 1 | 15.4 | 9.1 | 0.125 | 17.5175
[5 empty] | 1 | 1.65 | 0.9 | 0.125 | 0.18562
|  |  | 1ST FL | COL | 8 | 0.3 | 0.3 | 3.6 | 2.592
|  |  |  | R. BEAM | 1 | 72.5 | 0.25 | 0.4 | 7.25
|  |  |  | LINTEL | 1 | 44 | 0.15 | 0.15 | 0.99
|  |  | STAIR |  | 15 | 1.65 | 0.15 | 0.3 | 1.1138
| 5' | brick | soli | sq.m. | 12 | 1.2 | 1.2 | 1 | 17.28 | 2.7341
|  |  | tie |  | 1 | 76.7 | 0.25 | 1 | 19.175
|  |  | wal | sqm | 1 | 81.67 | 1 | 1 | 81.67
|  | shuttering | found | sqm | 48 | 1 | 0.2 | 1 | 9.6
|  |  | tie | sqm | 2 | 76.7 | 0.4 | 1 | 61.36
sqm
|  |  | col | sqm | 48 | 0.3 | 3.9 | 1 | 56.16 | 87.84
|  |  | col | sqm | 32 | 0.3 | 3.3 | 1 | 31.68
|  |  | beam | sqm | 72.5 | 0.25 | 1 | 1 | 18.125 | 74.825
|  |  |  | sqm | 72.5 | 0.3 | 1 | 2 | 43.5
|  |  | LINTEL | sqm | 44 | 0.15 | 1 | 2 | 13.2
|  | SLAB |  | sqm | 1 | 15.3 | 9.1 | 1 | 139.23
|  | STAIR |  |  |  | 5.33 | 1.65 | 1 | 8.7945 | 12.7545
[5 empty] | 16 | 0.15 | 1.65 | 1 | 3.96
|  | anti ter |  | sqm | 12 | 1.4 | 1.4 | 1 | 23.52
|  |  |  | sqm | 1 | 130 | 1 | 1 | 130
|  | pl protec |  | sqm | 1 | 30.7 | 1 | 1 | 30.7
|  |  |  | rm | 1 | 53.52 | 1 | 1 | 53.52

## Sheet2
Description | No | No of bar | Dia | Rt length | Middle | Lt length | bend | 8mm | 10mm | 12mm | 16mm | 20mm | 25mm
foundatio | 12 | 10 | 10 | 0.05 | 1.2 | 0.05 |  | 0 | 156 | 0 | 0 | 0 | 0
| 12 | 10 | 12 | 0.05 | 1.2 | 0.05 |  | 0 | 156 | 0 | 0 | 0 | 0
COLUMNS
COL GR.FL | 12 | 6 | 16 | 0 | 3.9 | 0 | 0.6 | 0 | 0 | 0 | 324 | 0 | 0
Stirrup | 12 | 39 | 8 | 0 | 0.9 | 0 | 0.15 | 491.4 | 0 | 0 | 0 | 0 | 0
COL FF.FL | 10 | 4 | 16 | 0 | 3.3 | 0 | 0.6 | 0 | 0 | 0 | 156 | 0 | 0
Stirrup | 12 | 33 | 8 | 0 | 0.9 | 0 | 0.15 | 415.8 | 0 | 0 | 0 | 0 | 0
G.F
Tie-Beams
Size 250x400 | 1 | 5 | 16 | 0.45 | 76.67 | 0.45 |  | 0 | 0 | 0 | 387.85 | 0 | 0
Stirrup | 1 | 767 | 8 | 0 | 1 | 0 | 0.15 | 882.05 | 0 | 0 | 0 | 0 | 0
ff Beams
Size 250x400 | 1 | 5 | 16 | 0.45 | 72.5 | 0.45 |  | 0 | 0 | 0 | 367 | 0 | 0
Stirrup | 1 | 725 | 8 | 0 | 0.8 | 0 |  | 580 | 0 | 0 | 0 | 0 | 0
LINTEL | 1 | 4 | 10 | 0.45 | 44 | 0.45 |  | 0 | 179.6 | 0 | 0 | 0 | 0
| 1 | 440 | 8 | 0 | 0.4 | 0 |  | 176 | 0 | 0 | 0 | 0 | 0
ROOF BEAM
Size 250x400 | 1 | 5 | 16 | 0.45 | 72.5 | 0.45 |  | 0 | 0 | 0 | 367 | 0 | 0
Stirrup | 1 | 725 | 8 | 0 | 0.8 | 0 |  | 580 | 0 | 0 | 0 | 0 | 0
SLAB | 1 | 2 | 9.6 | 153 |  |  |  |  | 2937.6
| 1 | 2 | 15.3 | 96 |  |  |  |  | 2937.6
SLAB | 1 | 2 | 0.9 | 16.5 |  |  |  |  | 29.7
| 1 | 2 | 1.65 | 9 |  |  |  |  | 29.7
| STAIR | 1 | 2 | 5.3 | 16.5 |  |  |  |  | 174.9
|  | 1 | 2 | 1.65 | 53 |  |  |  |  | 174.9
|  | 1 | 2 | 0.6 | 16.5 |  |  |  |  | 19.8
|  | 1 | 2 | 1.65 | 6 |  |  |  |  | 19.8
[8 empty] | 3125.25 | 6426.2 | 389.4 | 1601.85 | 0 | 0
[8 empty] | 0.39506 | 0.61728 | 0.88889 | 1.5802 | 2.4691 | 3.858
[8 empty] | 1234.6667 | 3966.7901 | 346.1333 | 2531.3185 | 0 | 0
0
[6 empty] | Total | = | 1234.6667 | 3966.7901 | 346.1333 | 2531.3185 | 0 | 0 | KG
[8 empty] | 1.2347 | 3.9668 | 0.34613 | 2.5313 | 0 | 0 | MT
[11 empty] | Total | 8.0789 |  | MT
[12 empty] | 80.7891 |  | Qtl
88.868